## Slide 1
A two-mode range meter for nanometric accuracy (& picometric resolution) long distance measurements in space
D. H. Phung1, C. Courde1, A.Brillet1, C.Alexandre2, M. Lintz1 (michel.lintz@oca.eu),
1ARTEMIS, Observatoire de la Côte d'Azur, Nice, France
2Laboratoire CEDRIC-LAETITIA , CNAM, 292 rue Saint Martin, 75141 Paris, France
Iliade Collab. with Etienne Samain (GéoAzur, OCA) and Stéphane Pitois (ICB, Univ. Dijon)
Funding: ANR (grant ANR-07-BLAN-0309-01) and CNES
- A two-mode beam probes the reference and measurement paths
- Interference signal provides cm- and µm-scale measurements
- absolute distance information from time-of-flight measurements
- sub-nm precision expected. 0.3nm resolution over 135µs
Experimental signals, L scan
1 cycle ~ 15 mm
phase/amplitude diagram
L scan
104 dents!
(F=20GHz,
opt=1.5µm)
Measurement principle
Three different length scales
1. a time-of-flight measurement,
=> absolute ranging, precision <mm,
2. "synthetic wavelength" phase
(modulo Λ=c/20GHz=15mm)
3. optical wavelength phase
(modulo λopt=1.5µm=Λ/104),
=> high resolution (0.3nm in 135µs)
Requirement: µ-wave measurement precision has to be better than 10-4 cycle and 10-4 !
Two phase measurements of optical wavelength (1.55 microns) and the synthetic wavelength (15 mm) are extracted from the same two-mode interference signal to prevent systematic errors due to slow drifts in the micro wave components.
vopt scan
4
Phase and
amplitudes
Measurement
arm
FPGA
two-mode
beat
target
Ranging measurement resolution
Systematic errors
Electronic Cross-talk between detection channels (-60dB; 4 parameters)
Amplitude-to-phase coupling in the 20 GHz photodiode
Measurement convergence , 2000 full cycle measurements,
Laser beams ; Optical fibre, HF (20 GHz) signals, IF (20 MHz) signals
(P)BS: (polarizing) beam splitter; AOM: Acousto-optic modulator; DDS: direct digital synthesizer. PhD: photodiodes M: mixers
Experimental setup
One elementary measurement cycle (3 data points): 135 µs.
Full measurement cycle (320 elementary cycles) = 43ms
The resolution measurement is better than 200 pm at 135 µs.
and better than 10 pm at 43 ms.
3 corrections:  cross-talk
 stationary AM/PM
 transient AM/PM
Transient AM/PM coupling
easily corrected in the measured data
easily corrected
difficult to correct!
Iliade
Mixer replaced by an optical demodulator (before the photodiode) :
Systematic reduced by fact. 1000 (20GHz/20MHz)
Electrical cross-talk between the reference and measurement chains is lower (-80 dB)
How to reduce AM/PM by 1000 ??
Convergence: 86 % (exp. 100%)
residual systematics
Raw data:
large systematics
using electrical demodulation
(PhD detects 20 GHz modulation)
Stationary AM/PM coupling
Length measurement, shifted by 7.492717 m
Allan deviation of measurement noise
using optical demodulation
(PhD detects 20 MHz modulation)
Convergence: 92 % (exp. 93.5%)
2 corrections:  cross-talk
 stationary AM/PM
Raw data
Thermal effects
µs & ms time scales
200 pm at 135 µs (expected 150 pm)
10 pm expected @ 43 ms
conclusions
Complex signal...
...with strong signature,
helps identification of systematics
Accuracy not yet tested, (expected: nm)
but 200 pm resolution @ 150 µs,
improves as 1/
Solution has been found to AM-to-PM
No femtosecond laser
Update rate 50 ms, possibly 150 µs
Phung et al Opt. Lett. 38(2013) p. 281
Phung et al, Meas. Sci. Technol. (submitted)
acoustic perturbations
of the 7.5 m optical path
2πc/ = , "synthetic wavelength", 15 mm
2πc/ = , optical wavelength, 1.55 µm
Collimator
Collimator

13.5 ms
100 s
100 s